## HVAC
MECHANICAL BID WORKSHEET
Code | Task | Usage | Weighted | Qty | Labor | Material
AC | 1.5 CASED COIL R-410A | 0% |  | EACH
AC | 2.0 CASED COIL R-410A | 0% |  | EACH
AC | 2.5 CASED COIL R-410A | 0% |  | EACH
AC | 3.0 CASED COIL R-410A | 0% |  | EACH
AC | 3.5 CASED COIL R-410A | 0% |  | EACH
AC | CONDENSER PAD | 0% |  | EACH
AC | DISCONNECT | 0% |  | EACH
AC | ELECTRICAL WHIP - 4' | 0% |  | EACH
AC | AC LINESET | 2% |  | PER FT
AC | WINDOW AIR CONDITIONER 5,000 BTU ENERGY STAR | 4% |  | EACH
AC | WINDOW AIR CONDITIONER 8,000 BTU ENERGY STAR | 0% |  | EACH
AC | WINDOW AIR CONDITIONER 10,000 BTU ENERGY STAR | 2% |  | EACH
AC | WINDOW AIR CONDITIONER 12,000 BTU ENERGY STAR | 2% |  | EACH
AC | 1.5 TON Central Air Condenser | 21% | Yes | EACH
AC | 2.0 TON Central Air Condenser | 36% | Yes | EACH
AC | 2.5 TON Central Air Condenser | 14% | Yes | EACH
AC | 3.0 TON Central Air Condenser | 2% | Yes | EACH
AC | 3.5 TON Central Air Condenser | 0% | Yes | EACH
HVAC | BLACK PIPE INCLUDING FITTINGS - ANY SIZE | 32% |  | PER FT
HVAC | BLOWER MOTOR | 0% |  | EACH
HVAC | BLOWER WHEEL | 0% |  | EACH
HVAC | BOILER - AQUASTAT | 2% |  | EACH
HVAC | BOILER - CIRCULATOR PUMP | 2% |  | EACH
HVAC | BOILER - COPPER PIPE 1/2" INCLUDING FITTINGS | 2% |  | PER FT
HVAC | BOILER - COPPER PIPE 3/4" INCLUDING FITTINGS | 0% |  | PER FT
HVAC | BOILER - COPPER PIPE 1" INCLUDING FITTINGS | 0% |  | PER FT
HVAC | BOILER - COPPER PIPE 1 1/4" INCLUDING FITTINGS | 0% |  | PER FT
HVAC | BOILER - COPPER PIPE 1 1/2" INCLUDING FITTINGS | 0% |  | PER FT
HVAC | BOILER - DISCHARGE PIPE | 0% |  | EACH
HVAC | BOILER - DRAIN VALVE | 2% |  | EACH
HVAC | BOILER - EXPANSION TANK | 2% |  | EACH
HVAC | BOILER - FILL & BLEED WATER LINES | 2% |  | EACH
HVAC | BOILER - FILL VALVE | 2% |  | EACH
HVAC | BOILER - FLOW CONTROL VALVE | 0% |  | EACH
HVAC | BOILER - ISOLATION VALVE | 2% |  | EACH
HVAC | BOILER - LOW VALVE CUT OFF | 0% |  | EACH
HVAC | BOILER - RADIATOR | 0% |  | EACH
HVAC | BOILER - RADIATOR VALVE | 0% |  | EACH
HVAC | BOILER - SUPPLY/RETURN WATER LINES | 2% |  | PER FT
HVAC | BOILER - ZONE PUMP | 0% |  | EACH
HVAC | BOILER - ZONE THERMOSTAT | 0% |  | EACH
HVAC | BOILER - ZONE VALVE | 2% |  | EACH
HVAC | BURNER | 0% |  | EACH
HVAC | BURNER ASSEMBLY | 0% |  | EACH
HVAC | B-VENT FITTING - 3" | 4% |  | EACH
HVAC | B-VENT FITTING - 4" | 0% |  | EACH
HVAC | B-VENT FITTING - 5" | 0% |  | EACH
HVAC | B-VENT FITTING - 6" | 2% |  | EACH
HVAC | B-VENT PIPE - 3" | 2% |  | PER FT
HVAC | B-VENT PIPE - 4" | 0% |  | PER FT
HVAC | B-VENT PIPE - 5" | 0% |  | PER FT
HVAC | B-VENT PIPE - 6" | 0% |  | PER FT
HVAC | CEILING REGISTER W/ DIFFUSER- ANY SIZE | NEW |  | EACH
HVAC | CHIMNEY CAP (ROOF) - ANY SIZE | 13% |  | EACH
HVAC | CHIMNEY LINER - ANY SIZE | 15% | Yes | EACH
HVAC | CIRCUIT BOARD | 2% |  | EACH
HVAC | CLEAN & TUNE BOILER | 0% | Yes | EACH
HVAC | CLEAN & TUNE CENTRAL AIR CONDITIONER | 2% | Yes | EACH
HVAC | CLEAN & TUNE BASEBOARD SYSTEM | 0% | Yes | EACH
HVAC | CLEAN & TUNE ELECTRIC FURNACE | 0% | Yes | EACH
HVAC | CLEAN & TUNE GAS FURNACE | 4% | Yes | EACH
HVAC | CLEAN A-COIL | 2% | Yes | EACH
HVAC | COLD AIR RETURN FILTER GRILL - ANY SIZE | 4% |  | EACH
HVAC | CONCENTRIC VENT KIT | 9% |  | EACH
HVAC | CONDENSATE DRAIN - 3/8" FLEX TUBING | 5% |  | PER FT
HVAC | CONDENSATE PUMP | 0% |  | EACH
HVAC | DUCT INSULATION - ANY SIZE | 0% | Yes | PER FT
HVAC | DUCT MASTIC | 53% | Yes | PER GAL
HVAC | ELECTRIC DISCONNECT | 0% |  | EACH
HVAC | ELECTRIC FURNACE HEATING ELEMENT | 0% |  | EACH
HVAC | FABRICATE FILTER SLOT COVER | 6% |  | EACH
HVAC | FILTER RACK | 2% |  | EACH
HVAC | FLAME ROLLOUT SENSOR | 4% |  | EACH
HVAC | FLAT WALL RETURN GRILLE - ANY SIZE | 2% |  | EACH
HVAC | FLOOR REGISTER - ANY SIZE | 7% |  | EACH
HVAC | FLOOR RETURN GRILLE - ANY SIZE | 0% |  | EACH
HVAC | FURNACE FILTER - 1" ANY SIZE (Merv 6 or better) | 10% | Yes | EACH
HVAC | FURNACE FILTER - 2" ANY SIZE (Merv 6 or better) | 0% | Yes | EACH
HVAC | FURNACE FILTER - 3" ANY SIZE (Merv 6 or better) | 0% | Yes | EACH
HVAC | FURNACE FILTER - 4" ANY SIZE (Merv 6 or better) | 0% | Yes | EACH
HVAC | FURNACE FILTER - 5" ANY SIZE (Merv 6 or better) | 4% | Yes | EACH
HVAC | GAS 36" APPLIANCE CONNECTOR - ANY DIAMETER | NEW |  | EACH
HVAC | GAS 48" APPLIANCE CONNECTOR - ANY DIAMETER | 6% |  | EACH
HVAC | GAS 60" APPLIANCE CONNECTOR - ANY DIAMETER | NEW |  | EACH
HVAC | GAS SHUT OFF | 12% |  | EACH
HVAC | GAS SMART VALVE | 0% |  | EACH
HVAC | HEAT TAPE | 0% |  | PER FT
HVAC | HIGH LIMIT SWITCH | 0% |  | EACH
HVAC | HIGH TEMP RED SILICON CAULK | 2% |  | EACH
HVAC | IGNITOR | 0% |  | EACH
HVAC | INDUCER MOTOR AND FAN | 2% |  | EACH
HVAC | R8 INSULATED FLEX DUCT -up to 6 in. | 2% |  | PER FT
HVAC | R8 INSULATED FLEX DUCT - 8-10 in. | NEW |  | PER FT
HVAC | R8 INSULATED FLEX DUCT- 12 in. | NEW |  | PER FT
HVAC | R8 INSULATED FLEX DUCT- 14 in. | NEW |  | PER FT
HVAC | R8 INSULATED FLEX DUCT -16 in. | NEW |  | PER FT
HVAC | INSULATED SUPPLY BOX | 0% |  | EACH
HVAC | INSULSHIELD | 0% |  | EACH
HVAC | INTERMITTENT IGNITION DEVICE (IID) | 0% |  | EACH
HVAC | LP KIT: FURNACE OR BOILER | 0% |  | EACH
HVAC | MOBILE HOME FURNACE FLUE KIT | 0% |  | EACH
HVAC | OUTLET with box and cover. | 0% |  | EACH
HVAC | PLENUM (Supply or Return) | 0% |  | EACH
HVAC | PIPE INSULATION - ANY DIAMETER | 2% |  | PER FT
HVAC | PRESSURE SWITCH | 2% |  | EACH
HVAC | PVC PIPE - 1/2" INCLUDING FITTINGS | 0% |  | PER FT
HVAC | PVC PIPE - 3/4" INCLUDING FITTINGS | 0% |  | PER FT
HVAC | PVC PIPE - 2" INCLUDING FITTINGS | 18% |  | PER FT
HVAC | PVC PIPE - 3" INCLUDING FITTINGS | 2% |  | PER FT
HVAC | REFRIGERANT - R22 | 0% |  | PER LB
HVAC | REFRIGERANT - R410-A | 0% |  | PER LB
HVAC | REMOVE AND REINSTALL A-COIL | 0% |  | EACH
HVAC | REPLACEMENT BURNER | 0% |  | EACH
HVAC | RETURN AIR DROP (to include radius 90) | 0% |  | EACH
HVAC | ROOF FLASHING - ANY SIZE | 15% |  | EACH
HVAC | ROOF JACK AND DUCT CONNECTOR | 0% |  | EACH
HVAC | ROOF TERMINATION HOOD - ANY SIZE | 0% |  | EACH
HVAC | THERMOSTAT - NON-PROGRAMMABLE | 0% |  | EACH
HVAC | THERMOSTAT - NON-PROGRAMMABLE VISUALLY IMPAIRED | 0% |  | EACH
HVAC | THERMOSTAT - SETBACK | 8% | Yes | EACH
HVAC | THERMOSTAT - SETBACK VISUALLY IMPAIRED | 0% | Yes | EACH
HVAC | THERMOSTAT - SMART | 0% | Yes | EACH
HVAC | SHEET METAL | 24% |  | PER SQ FT
HVAC | SINGLE WALL PIPE - 3" | 19% |  | PER FT
HVAC | SINGLE WALL PIPE - 4" | 0% |  | PER FT
HVAC | SINGLE WALL PIPE - 5" | 0% |  | PER FT
HVAC | SINGLE WALL PIPE - 6" | 0% |  | PER FT
HVAC | SINGLE WALL PIPE - 8" | NEW |  | PER FT
HVAC | SINGLE WALL PIPE - 10" | NEW |  | PER FT
HVAC | SINGLE WALL PIPE - 12" | NEW |  | PER FT
HVAC | SINGLE WALL PIPE FITTING 3" | 19% |  | EACH
HVAC | SINGLE WALL PIPE FITTING 4" | 6% |  | EACH
HVAC | SINGLE WALL PIPE FITTING 5" | 0% |  | EACH
HVAC | SINGLE WALL PIPE FITTING 6" | 11% |  | EACH
HVAC | SINGLE WALL PIPE FITTING 8" | NEW |  | EACH
HVAC | SINGLE WALL PIPE FITTING 10" | NEW |  | EACH
HVAC | SINGLE WALL PIPE FITTING 12" | NEW |  | EACH
HVAC | SSU SWITCH | 2% |  | EACH
HVAC | TEMPERATURE PRESSURE GAUGE | 0% |  | EACH
HVAC | THERMOCOUPLE | 0% |  | EACH
HVAC | TRANSFER GRILLE - ANY SIZE | 2% |  | EACH
HVAC | TRANSITION | 7% |  | EACH
HVAC | UNCASED EVAPORATOR COIL | 0% |  | EACH
HVAC | VENT DAMPER | 0% |  | EACH
HVAC | WALL FIRE STOP - ANY SIZE | 2% |  | EACH
HVAC | WALL REGISTER - ANY SIZE | 4% |  | EACH
HVAC | 95% 40K BTU FORCED AIR GAS FURNACE | 19% | Yes | EACH
HVAC | 95% 60K BTU FORCED AIR GAS FURNACE | 2% | Yes | EACH
HVAC | 95% 80K BTU FORCED AIR GAS FURNACE | 0% | Yes | EACH
HVAC | 95% 100K BTU FORCED AIR GAS FURNACE | 2% | Yes | EACH
HVAC | 95% 120K BTU FORCED AIR GAS FURNACE | 0% | Yes | EACH
HVAC | 95% 40K BTU FORCED AIR GAS FURNACE W/ ECM MOTOR | 10% | Yes | EACH
HVAC | 95% 60K BTU FORCED AIR GAS FURNACE W/ ECM MOTOR | 15% | Yes | EACH
HVAC | 95% 80K BTU FORCED AIR GAS FURNACE W/ ECM MOTOR | 4% | Yes | EACH
HVAC | 95% 100K BTU FORCED AIR GAS FURNACE W/ ECM MOTOR | 0% | Yes | EACH
HVAC | 95% 120K BTU FORCED AIR GAS FURNACE W/ ECM MOTOR | 0% | Yes | EACH
HVAC | 95% 40K BTU MOBILE HOME FORCED AIR GAS FURNACE | 5% | Yes | EACH
HVAC | 95% 60K BTU MOBILE HOME FORCED AIR GAS FURNACE | 4% | Yes | EACH
HVAC | 95% 80K BTU MOBILE HOME FORCED AIR GAS FURNACE | 0% | Yes | EACH
HVAC | 95% 100K BTU MOBILE HOME FORCED AIR GAS FURNACE | 0% | Yes | EACH
HVAC | 95% 120K BTU MOBILE HOME FORCED AIR GAS FURNACE | 0% | Yes | EACH
HVAC | 95% 40K BTU TWO-STAGE VARIABLE SPEED FORCED AIR GAS FURNACE | 9% |  | EACH
HVAC | 95% 60K BTU TWO-STAGE VARIABLE SPEED FORCED AIR GAS FURNACE | 7% |  | EACH
HVAC | 95% 80K BTU TWO-STAGE VARIABLE SPEED FORCED AIR GAS FURNACE | 0% |  | EACH
HVAC | 95% 100K BTU TWO-STAGE VARIABLE SPEED FORCED AIR GAS FURNACE | 0% |  | EACH
HVAC | 95% 120K BTU TWO-STAGE VARIABLE SPEED FORCED AIR GAS FURNACE PACKAGE: must include 95% 101,000-120,000 BTU gas two-stage variable speed forced air furnace, SSU switch, gas shut off, up to 10 ft. of black pipe including fittings (includes drip leg), 3-1" furnace filters, and duct mastic on all contractor installed joints. Installs may also include up to 30' of 2" PVC pipe including fittings, outlet, condensate pump, and up to 30 ft. of condensate drain tubing. | 0% |  | EACH
HVAC | 10 KW ELECTRIC FURNACE | 0% |  | EACH
HVAC | 15 KW ELECTRIC FURNACE | 2% |  | EACH
HVAC | 20 KW ELECTRIC FURNACE | 0% |  | EACH
HVAC | 25 KW ELECTRIC FURNACE | 0% |  | EACH
HVAC | 5KW AUXILIARY HEAT | NEW |  | EACH
HVAC | 10KW AUXILIARY HEAT | NEW |  | EACH
HVAC | 15KW AUXILIARY HEAT | NEW |  | EACH
HVAC | HEAT PUMP AIR SOURCE - 2 TON | NEW |  | EACH
HVAC | HEAT PUMP AIR SOURCE - 2.5 TON | NEW |  | EACH
HVAC | HEAT PUMP AIR SOURCE - 3 TON | NEW |  | EACH
HVAC | HEAT PUMP AIR SOURCE - 3.5 TON | NEW |  | EACH
HVAC | HEAT PUMP AIR SOURCE - 4 TON | NEW |  | EACH
HVAC | 90% 120,000 - 139,000 BTU GAS BOILER | 0% | Yes | EACH
HVAC | 90% 140,000 - 159,000 BTU GAS BOILER | 0% | Yes | EACH
HVAC | 90% 160,000 AND OVER BTU GAS BOILER | 0% | Yes | EACH
HLSF | CARBON MONOXIDE DETECTOR | 51% |  | EACH
HLSF | DISCONNECT AND REMOVED UNVENTED SPACE HEATER | 23% |  | EACH
HLSF | FIRE EXTINGUISHER - 3 LB. | 8% |  | EACH
HLSF | CLEAN & TUNE GAS RANGE STOVE/OVEN | 2% |  | EACH
HLSF | INSTALL NEW GAS RANGE STOVE/OVEN COMBO | 2% |  | EACH
HLSF | SMOKE DETECTOR | 58% |  | EACH
HLSF | SMOKE DETECTOR - HEARING IMPAIRED | 0% |  | EACH
HLSF | SMOKE DETECTOR - HARDWIRE | 0% |  | EACH
HLSF | AA OR AAA BATTERY | 0% |  | EACH
HLSF | 9V BATTERY FOR SMOKE DETECTOR | 2% |  | EACH
HLSF | DISCHARGE PIPE | 17% |  | EACH
HLSF | PRESSURE RELIEF VALVE | 7% |  | EACH
HLSF | SECURE WATER HEATER VENT | 0% |  | EACH
ELEC | 240V ELECTRICAL WIRING PACKAGE: Includes up to 10-3 w/ ground up to 40 ft., up to a 30 amp breaker, and up to 35 ft. of thermostat wire. This package is only allowed to be used when installing something brand new that never existed, not a replacement of something that already exists. | 16% | 130 | EACH
ELEC | 120V ELECTRICAL WIRING PACKAGE: Includes up to 25ft of up to 12-2 w/ground, up to a 20 amp breaker, outlet, box w/cover, and fasteners to secure wire. This package is only allowed to be used when installing something brand new that never existed, not a replacement of something that already exists. | 16% | 40 | Each
MISC | ADDITIONAL LABOR CHARGE | 9% |  | PER HOUR
PLUMBING BID WORKSHEET
Code | Task | Usage | Weighted | Qty | Labor | Material
WTHT | BLACK PIPE INCLUDING FITTINGS - ANY SIZE | 32% |  | PER FT
WTHT | CLEAN AND TUNE WATER HEATER | 11% |  | EACH
WTHT | COPPER PIPE 1/2" INCLUDING FITTINGS | 2% |  | PER FT
WTHT | COPPER PIPE 3/4" INCLUDING FITTINGS | 0% |  | PER FT
WTHT | COPPER PIPE 1" INCLUDING FITTINGS | 0% |  | PER FT
WTHT | COPPER PIPE 1 1/4" INCLUDING FITTINGS | 0% |  | PER FT
WTHT | COPPER PIPE 1 1/2" INCLUDING FITTINGS | 0% |  | PER FT
WTHT | CONDENSATE DRAIN - 3/8" FLEX TUBING | 5% |  | PER FT
WTHT | CONDENSATE PUMP | 0% |  | EACH
WTHT | DRAIN PAN | NEW |  | EACH
WTHT | GAS 36" APPLIANCE CONNECTOR - ANY DIAMETER | NEW |  | EACH
WTHT | GAS 48" APPLIANCE CONNECTOR - ANY DIAMETER | 6% |  | EACH
WTHT | GAS 60" APPLIANCE CONNECTOR - ANY DIAMETER | NEW |  | EACH
WTHT | GAS SHUT OFF | 12% |  | EACH
WTHT | MOBILE HOME FLUE KIT | 0% |  | EACH
WTHT | PRESSURE RELIEF VALVE | 7% |  | EACH
WTHT | PVC/CPVC PIPE - 1/2" INCLUDING FITTINGS | 0% |  | PER FT
WTHT | PVC/CPVC PIPE - 3/4" INCLUDING FITTINGS | 0% |  | PER FT
WTHT | PVC/CPVC PIPE - 2" INCLUDING FITTINGS | 18% |  | PER FT
WTHT | PVC/CPVC PIPE - 3" INCLUDING FITTINGS | 2% |  | PER FT
WTHT | SECURE WATER HEATER VENT | 0% |  | EACH
WTHT | WATER SHUT OFF | 24% |  | EACH
WTHT | 40 GALLON NATURAL GAS WATER HEATER PACKAGE Must have the following items: 40 gallon natural gas water heater, gas shut off, drip leg, discharge pipe, and 2 water shut offs. | 9% | Yes | EACH
WTHT | 50 GALLON NATURAL GAS WATER HEATER PACKAGE Must have the following items: 50 gallon natural gas water heater, gas shut off, drip leg, discharge pipe, and 2 water shut offs. | 2% | Yes | EACH
WTHT | 40 GALLON ELECTRIC WATER HEATER PACKAGE Must have the following items: 40 gallon electric water heater, discharge pipe, and 2 water shut offs. | 15% |  | EACH
WTHT | 50 GALLON ELECTRIC WATER HEATER PACKAGE includes up to the following items: 50 gallonelectric water heater, discharge pipe, and 2 water shut offs. | 4% |  | EACH
WTHT | 40 GALLON NATURAL GAS MOBILE HOME WATER HEATER PACKAGE must include a 40 gallon natural gas mobile home water heater, gas shut off, drip leg, discharge pipe, 2 water shut offs, and drain pan. | 0% | Yes | EACH
WTHT | 50 GALLON NATURAL GAS MOBILE HOME WATER HEATER PACKAGE must include a 50 gallon natural gas mobile home water heater, gas shut off, drip leg, discharge pipe, 2 water shut offs, and drain pan. | 0% | Yes | EACH
WTHT | 40 GALLON ELECTRIC MOBILE HOME WATER HEATER PACKAGE must have the following: 40 gallon electric mobile home water heater, discharge pipe, 2 water shut offs, drain pan, and disconnect. | 0% |  | EACH
WTHT | 50 GALLON ELECTRIC MOBILE HOME WATER HEATER PACKAGE Must have the following: 50 gallon electric mobile home water heater, discharge pipe, 2 water shut offs, drain pan, and disconnect. | 0% |  | EACH
WTHT | 40 GALLON NATURAL GAS MOBILE HOME SEALED COMBUSTION WATER HEATER PACKAGE Must have the following items: 40 gallon direct vent mobile home sealed combustion water heater, gas shut off, drip leg, discharge pipe, 2 water shut offs, drain pan, and manufacturer roof jack kit. | 2% | Yes | EACH
WTHT | 50 GALLON NATURAL GAS MOBILE HOME SEALED COMBUSTION WATER HEATER PACKAGE Must include the following items: 50 gallon direct vent mobile home sealed combustion water heater, gas shut off, drip leg, discharge pipe, 2 water shut offs, drain pan, and manufacturer roof jack. | 0% | Yes | EACH
WTHT | 40 GALLON POWER VENT GAS WATER HEATER PACKAGE Must include the following items: 40 gallon natural gas power vent water heater, gas shut off, drip leg, 2 water shut offs, discharge pipe, may include up to 20 ft. of 2" PVC pipe including fittings, and may include up to 30 ft. of condensate drain tubing | 27% | Yes | EACH
WTHT | 50 GALLON POWER VENT GAS WATER HEATER PACKAGE Must include the following items:50 gallon natural gas power vent water heater, gas shut off, drip leg, discharge pipe, 2 water shut offs, may include up to 20 ft. of 2" PVC pipe including fittings, and may include up to 30 ft. of condensate drain tubing | 0% | Yes | EACH
WTHT | 50 GALLON HYBRID HEAT PUMP WATER HEATER PACKAGE Must include the following items: 50 gallon hybrid heat pump water heater, discharge pipe, 2 water shut offs, may include up to 30 ft. of condensate drain tubing, and may include a condensate pump. | NEW |  | EACH
ELEC | ELECTRIC DISCONNECT | 0% |  | EACH
ELEC | 240V ELECTRICAL WIRING PACKAGE: Includes up to 10-3 w/ ground up to 40 ft., up to a 30 amp breaker, and up to 35 ft. of thermostat wire. This package is only allowed to be used when installing something brand new that never existed, not a replacement of something that already exists. | 16% | 130 | EACH
ELEC | 120V ELECTRICAL WIRING PACKAGE: Includes up to 25ft of up to 12-2 w/ground, up to a 20 amp breaker, outlet, box w/cover, and fasteners to secure wire. This package is only allowed to be used when installing something brand new that never existed, not a replacement of something that already exists. | 16% | 40 | Each
ARCHITECTURAL BID WORKSHEET
Code | Task | Usage | Weighted | Qty | Labor | Material
BASE | LED BULBS - STANDARD 40 WATT | 21% | Yes | EACH
BASE | LED BULBS - STANDARD 60 WATT | 84% | Yes | EACH
BASE | LED BULBS - CANDLEABRA (ANY SIZE) | 55% | Yes | EACH
BASE | LED BULBS - DIMMABLE (ANY SIZE) | 0% | Yes | EACH
BASE | LED BULBS - EXTERIOR FLOOD (ANY SIZE) | 0% | Yes | EACH
BASE | LED BULBS - GLOBE (ANY SIZE) | 19% | Yes | EACH
BASE | LED BULBS - RETROFIT CAN LIGHTS | NEW |  | EACH
BASE | LED BULBS - 48" FLOURECENT REPLACEMENT | NEW |  | EACH
BASE | FAUCET AERATOR | 48% | Yes | EACH
BASE | LOW-FLOW SHOWER HEAD | 26% | Yes | EACH
DOOR | ADJUST LOCK/STRIKE PLATE | 2% |  | EACH
DOOR | BUILD ODD SIZE DOOR FOR BASEMENT ENTRY | 6% |  | EACH
DOOR | DOOR MODERNIZATION KIT | 12% |  | EACH
DOOR | DOOR SWEEP | 44% | Yes | EACH
DOOR | LOCKSET | 25% |  | EACH
DOOR | LOCKSET WITH DEADBOLT | 30% |  | EACH
DOOR | MOBILE HOME DOOR SERIES 100 (SPECIAL ORDER) | 2% |  | EACH
DOOR | MOBILE HOME DOOR SERIES 100 (STANDARD) | 4% |  | EACH
DOOR | MOBILE HOME DOOR SERIES 200 (SPECIAL ORDER) | 0% |  | EACH
DOOR | MOBILE HOME DOOR SERIES 200 (STANDARD) | 2% |  | EACH
DOOR | MOBILE HOME WATER HEATER DOOR (ANY SIZE) | 4% |  | EACH
DOOR | MOBILE HOME WATER HEATER DOOR (ANY SIZE VENTED) | 0% |  | EACH
DOOR | OVERSIZED STRIKE PLATE | 4% |  | EACH
DOOR | PREHUNG STEEL DOOR (STANDARD) | 17% |  | EACH
DOOR | REHANG DOOR | 12% |  | EACH
DOOR | STRIKE PLATE | 0% |  | EACH
DOOR | THRESHOLD - ALUMINUM ADJUSTABLE | 2% |  | EACH
DOOR | THRESHOLD - ALUMINUM BUMPER | 12% |  | EACH
DOOR | THRESHOLD - OAK | 0% |  | EACH
DOOR | UNDERCUT DOOR | 0% |  | EACH
DOOR | WOOD ENTRY DOOR SLAB (STANDARD) | 2% |  | EACH
ELEC | LIGHT SWITCH | 2% |  | EACH
ELEC | OUTLET | 0% |  | EACH
ELEC | CEILING LIGHT | NEW |  | EACH
ELEC | ELECTRICAL JUNCTION BOX COVER | 15% |  | EACH
ELEC | ELECTRICAL JUNCTION BOX & COVER | NEW |  | EACH
HLSF | 9 VOLT BATTERY | 3% |  | EACH
HLSF | CARBON MONOXIDE DETECTOR | 6% |  | EACH
HLSF | FIRE EXTINGUISHER - 3 LB. | 5% |  | EACH
HLSF | SMOKE DETECTOR | 4% |  | EACH
HLSF | GUTTER | 4% |  | PER FT
HLSF | GUTTER- DOWNSPOUT- Includes up to 10' Downspout and up to 3 elbows (offset) | 13% |  | EACH
HLSF | GUTTER- DOWNSPOUT EXTENSION - up to 5 ft. aluminum | 16% |  | EACH
HLSF | GUTTER- DOWNSPOUT ELBOW | NEW |  | EACH
HLSF | GUTTER SPLASH GUARD | 10% |  | EACH
HLSF | DRYER VENT PIPE 4" - RIGID OR FLEX | 28% |  | PER FT
HLSF | DRYER VENT ELBOW 4" | 18% |  | EACH
HLSF | DRYER VENT TERMINATION | 6% |  | EACH
HLSF | DRYER VENT KIT PACKAGE - HOUSE: Includes dryer vent pipe up to 8 ft., up to 2 dryer vent elbows, caulk, and dryer vent termination | 25% |  | EACH
HLSF | DRYER VENT KIT PACKAGE - MOBILE HOME: Includes insulated flex duct up to 8 ft., up to 2 dryer vent elbows, caulk, and dryer vent termination | 4% |  | EACH
HLSF | INSULATED 4" FLEX DUCT R-8 | 14% |  | PER FT
HLSF | INSULATED 6" FLEX DUCT R-8 | 6% |  | PER FT
HLSF | ROOF TERMINATION HOOD - ANY SIZE | 13% |  | EACH
HLSF | ASHRAE FAN - HOUSE PACKAGE: Includes adjustable continuous flow fan light or no light, roof or wall termination, black jack, and up to 8 ft. of insulated flex duct | 32% | Yes | EACH
HLSF | ASHRAE FAN MOTION SENSOR - HOUSE PACKAGE: Includes adjustable continuous flow fan light or no light with motion sensor, roof or wall termination, black jack, and up to 8 ft. of insulated flex duct | 38% | Yes | EACH
HLSF | ASHRAE FAN - MOBILE HOME FLOOR PACKAGE: Inline single point fan, dryer termination, caulk, and up to 8 ft. of insulated flex duct | 0% | Yes | EACH
HLSF | EXHAUST FAN CONTROL - ASHRAE | 0% | Yes | EACH
HLSF | EXHAUST FAN CONTROL - WITH BOOST FEATURE | 0% | Yes | EACH
HLSF | KITCHEN RANGE HOOD WITH LIGHT (ANY SIZE) | 8% |  | EACH
HLSF | LEAD SAFE WORK PRACTICES | 2% |  | EACH
HLSF | LEAD SAFE WORK PRACTICES - SIDEWALL INSULATION | 22% |  | PER LN FT
HLSF | LEAD SAFE WORK PRACTICES - WINDOW OR DOOR REPLACEMENT | 5% |  | EACH
HLSF | MOBILE HOME DRIP CAP - DOOR OR WINDOW | 8% |  | EACH
HLSF | STANDARD BATH FAN WITH LIGHT | 4% |  | EACH
HLSF | STANDARD EXHAUST FAN (Square w/o light) | 5% |  | EACH
HLSF | VISQUEEN 6mil - black | 35% |  | PER SQ FT
INSL | CELLULOSE R-11 - OPEN BLOW | 5% | Yes | PER SQ FT
INSL | CELLULOSE R-19 - OPEN BLOW | 10% | Yes | PER SQ FT
INSL | CELLULOSE R-30 - OPEN BLOW | 15% | Yes | PER SQ FT
INSL | CELLULOSE R-40 - OPEN BLOW | 37% | Yes | PER SQ FT
INSL | CELLULOSE R-49 - OPEN BLOW | 8% | Yes | PER SQ FT
INSL | CUT/REAPPLY ALUMINUM SIDING | 8% |  | PER LN FT
INSL | DENSE PACK R-11 CELLULOSE - ROOF RAFTER | 2% | Yes | PER SQ FT
INSL | DENSE PACK R-11 FIBERGLASS - ROOF RAFTER | 0% | Yes | PER SQ FT
INSL | DENSE PACK R-11 CELLULOSE - SIDEWALL INSULATION | 25% | Yes | PER SQ FT
INSL | DENSE PACK R-11 FIBERGLASS - SIDEWALL INSULATION | 0% | Yes | PER SQ FT
INSL | DOWBOARD 2" R-10 | 43% |  | PER SQ FT
INSL | FIBERGLASS R-11 - OPEN BLOW | 0% | Yes | PER SQ FT
INSL | FIBERGLASS R-19 - OPEN BLOW | 0% | Yes | PER SQ FT
INSL | FIBERGLASS R-30 - OPEN BLOW | 0% | Yes | PER SQ FT
INSL | FIBERGLASS R-40 - OPEN BLOW | 2% | Yes | PER SQ FT
INSL | FIBERGLASS R-49 - OPEN BLOW | 5% | Yes | PER SQ FT
INSL | FIBERGLASS R-13 (Kraft Faced or Unfaced Batt Any Width) | 27% |  | PER SQ FT
INSL | FIBERGLASS R-19 (Kraft Faced or Unfaced Batt Any Width) | 4% |  | PER SQ FT
INSL | FIBERGLASS R-24 (Kraft Faced or Unfaced Batt Any Width) | 0% |  | PER SQ FT
INSL | FIBERGLASS R-30 (Kraft Faced or Unfaced Batt Any Width) | 0% |  | PER SQ FT
INSL | FIBERGLASS R-38 (Kraft Faced or Unfaced Batt Any Width) | 0% |  | PER SQ FT
INSL | FOIL FACED FOAM BOARD R-13 | 4% |  | PER SQ FT
INSL | INSULSHIELD | 37% |  | EACH
INSL | TWO PART FOAM 1" | 46% | Yes | PER SQ FT
INSL | TWO PART FOAM 2" | 93% | Yes | PER SQ FT
INSL | TYVEK/TYPAR | 15% |  | PER SQ FT
INSL | UNZIP VINYL SIDING | 9% |  | PER FT
INSL | VENT CHUTES (ANY SIZE) | 13% |  | EACH
INSL | PIPE INSULATION - ANY SIZE | 0% |  | PER FT
INSL | DENSE PACK INSULATE MOBILE HOME ATTIC PACKAGE: Includes up to 2 ficticious attic roof vents, caulk, and up to 20 bags of fiberglass insulation | 0% |  | EACH
INSL | REPAIR AND DENSE PACK INSULATE MOBILE HOME BELLYBOARD: Includes fiberglass blow in insulation, mobile home belly fabric, all materials to fasten/attach new material, and site prep(securing electrical wires and plumbing lines). | 14% |  | PER SQ FT
LUMB | 1" X 2" | 6% |  | PER FT
LUMB | 1" X 4" | 10% |  | PER FT
LUMB | 1" X 4" TREATED | 0% |  | PER FT
LUMB | 1" X 6" | 6% |  | PER FT
LUMB | 1" X 6" TREATED | 2% |  | PER FT
LUMB | 1" X 8" | 2% |  | PER FT
LUMB | 1" X 10" | 4% |  | PER FT
LUMB | 1" x 12" | 0% |  | PER FT
LUMB | 2" X 4" | 5% |  | PER FT
LUMB | 2" X 4" TREATED | 2% |  | PER FT
LUMB | 2" X 6" | 8% |  | PER FT
LUMB | 2" X 6" TREATED | 4% |  | PER FT
LUMB | 2" X 8" | 0% |  | PER FT
LUMB | 2" X 8" TREATED | 2% |  | PER FT
LUMB | 2" x 10" | 4% |  | PER FT
LUMB | PLYWOOD CDX 4' X 8' X 1/2" | 8% |  | EACH
LUMB | PLYWOOD CDX 4' X 8' X 5/8" | 0% |  | EACH
LUMB | PLYWOOD CDX 4' X 8' X 3/4" | 2% |  | EACH
LUMB | PLYWOOD OSB 4' X 8' X 1/2" | 2% |  | EACH
LUMB | PLYWOOD OSB 4' X 8' X 5/8" | 0% |  | EACH
LUMB | PLYWOOD OSB 4' X 8' X 3/4" | 2% |  | EACH
LUMB | INTERIOR TRIM | NEW |  | PER FT
LUMB | EXTERIOR TRIM | NEW |  | PER FT
MISC | ADDITIONAL LABOR CHARGE | 45% |  | PER HOUR
MISC | COIL STOCK | 0% |  | PER SQ FT
MISC | HEAT TAPE | 0% |  | PER FT
MISC | CONCRETE MIX (BAG) | NEW |  | EACH
MISC | MORTAR MIX (BAG) | 2% |  | EACH
MISC | SHEET METAL | 4% |  | PER SQ FT
ROOF | BLACK JACK - GALLON | 2% |  | EACH
ROOF | BLACK JACK - TUBE | 15% |  | EACH
SEAL | AIR CONDITIONER COVER KIT | 2% |  | EACH
SEAL | BACKER ROD (ANY SIZE) | 2% |  | PER LN FT
SEAL | CAULK - LATEX SILICON | 68% | Yes | EACH
SEAL | CAULK - CLEAR SILICON | 87% | Yes | EACH
SEAL | DUCT MASTIC | 10% | Yes | EACH
SEAL | GLAZE | 22% | Yes | EACH
SEAL | HIGH TEMP RED SILICON CAULK | 16% |  | EACH
SEAL | KC WEATHERSTRIP | 89% | Yes | EACH
SEAL | PLEXIGLASS UP TO 24" X 24" | 4% |  | EACH
SEAL | PLEXIGLASS UP TO 30" X 30" | 0% |  | EACH
SEAL | PLEXIGLASS UP TO 40" X 48" | 0% |  | EACH
SEAL | COVER RECESSED LIGHTS | 8% |  | EACH
SEAL | AIR SEALING - KNEEWALL FLOOR JUNCTURE COVERED JOISTS | 7% |  | PER FT
SEAL | AIR SEALING - KNEEWALL FLOOR JUNCTURE OPEN JOISTS | 2% |  | PER FT
SEAL | BOX IN AND REPLACE EXISTING ATTIC HATCH | 26% |  | EACH
SEAL | INSULATE AND SEAL EXISTING ATTIC HATCH | 14% |  | EACH
SEAL | INSULATE AND SEAL EXISTING KNEEWALL HATCH | 8% |  | EACH
SEAL | INSULATE AND SEAL EXISTING CRAWLSPACE HATCH | 0% |  | EACH
SEAL | INSULATE AND SEAL EXISTING PULL DOWN STAIRS | 4% |  | EACH
SEAL | WHOLE HOUSE FAN COVER KIT | 6% |  | EACH
SEAL | NEW ATTIC HATCH | 10% |  | EACH
SEAL | NEW KNEEWALL HATCH | 11% |  | EACH
SEAL | NEW CRAWLSPACE HATCH | 6% |  | EACH
STRC | DRYWALL 4' X 8' - ANY THICKNESS | 20% |  | EACH
WIND | ADJUST SASH LOCK | 0% |  | EACH
WIND | ALIGN WINDOW SASH | 10% |  | EACH
WIND | ALUMINUM STORM WINDOW | 0% |  | PER U.I.
WIND | TRIPLE TRACK STORM WINDOW | 0% |  | PER U.I.
WIND | GLASS UP TO 12" X 12" | 0% |  | EACH
WIND | GLASS UP TO 24" X 24" | 11% |  | EACH
WIND | GLASS UP TO 30" X 30" | 12% |  | EACH
WIND | GLASS UP TO 40" X 44" | 6% |  | EACH
WIND | DOUBLE PANE GLASS UP TO 12" X 12" | 2% |  | EACH
WIND | DOUBLE PANE GLASS UP TO 24" X 24" | 0% |  | EACH
WIND | DOUBLE PANE GLASS UP TO 30" X 30" | 9% |  | EACH
WIND | DOUBLE PANE GLASS UP TO 40" X 44" | 6% |  | EACH
WIND | AIR SEAL (MOBILE HOMES AND JALOUSIE WINDOWS) W/ PLEXIGLASS/CLIPS up to 20" x 20" | NEW |  | EACH
WIND | AIR SEAL (MOBILE HOMES AND JALOUSIE WINDOWS) W/ PLEXIGLASS/CLIPS up to 40" x 40" | NEW |  | EACH
WIND | MOBILE HOME WINDOW REPLACEMENT 0-70 U.I. | 2% |  | EACH
WIND | MOBILE HOME WINDOW REPLACEMENT 71-100 U.I. | 0% |  | EACH
WIND | MOBILE HOME WINDOW REPLACEMENT 101+ U.I. | 0% |  | EACH
WIND | REPAIR WINDOW SILL | 2% |  | EACH
WIND | REPLACEMENT WINDOW 0-70 U.I. | 10% |  | EACH
WIND | REPLACEMENT WINDOW 71-100 U.I. | 8% |  | EACH
WIND | REPLACEMENT WINDOW 101+ U.I. | 0% |  | EACH
WIND | SASH LOCK | 6% |  | EACH
**Cannot find true mobile home replacement windows that meet IHWAP Field Standards - will use standard windows in the meantime